## Feet
Field ID: | US17
DS17F
Date | Well ID: US17.1 |  |  |  | Well ID: US17.2 |  |  |  | Well ID: US17.3 |  |  |  | Well ID: US17.4
| Easting: 623351 Northing: 4207318 |  |  |  | Easting: 624027 Northing: 4207212 |  |  |  | Easting: 624003 Northing: 4206743 |  |  |  | Easting: 624595 Northing: 4206405
| Casing Height: |  |  |  | Casing Height |  |  |  | Casing Height: |  |  |  | Casing Height:
| Depth (ft) | EC (µS) | Temp (ºC) | Notes | Depth (ft) | EC (µS) | Temp (ºC) | Notes | Depth (ft) | EC (µS) | Temp (ºC) | Notes | Depth (ft) | EC (µS) | Temp (ºC) | Notes
2008-09-10 | 6.6601 | 3179 | 17.8 |  | 6.332 | 2019 | 19.2 |  |  |  |  | No Water | 11.3189 | 3067 | 17.4
2008-09-23 | 6.7585 | 3087 | 17.2 | [8 empty] | No Water | 10.9252 | 3033 | 17.8
2008-10-08 | 6.6601 | 3081 | 17.7 |  | 6.4961 | 2036 | 18.1 |  |  |  |  | No Water | 10.9908 | 2954 | 16.8
2008-10-24 | 6.9882 | 2430 | 16.8 | [8 empty] | No Water | 10.9908 | 2630 | 17.6
US17.1
US17.2
US17.3
US17.4

## Meters
Field ID: | US17
Date | Well ID: US17.1 |  |  |  | Well ID: US17.2 |  |  |  | Well ID: US17.3 |  |  |  | Well ID: US17.4
| Easting: 623351 Northing: 4207318 |  |  |  | Easting: 624027 Northing: 4207212 |  |  |  | Easting: 624003 Northing: 4206743 |  |  |  | Easting: 624595 Northing: 4206405
| Casing Height: |  |  |  | Casing Height |  |  |  | Casing Height: |  |  |  | Casing Height:
| Depth (m) | EC (µS) | Temp (ºC) | Notes | Depth (m) | EC (µS) | Temp (ºC) | Notes | Depth (m) | EC (µS) | Temp (ºC) | Notes | Depth (m) | EC (µS) | Temp (ºC) | Notes
2008-09-10 | 2.03 | 3179 | 17.8 |  | 1.93 | 2019 | 19.2 |  |  |  |  | No Water | 3.45 | 3067 | 17.4
2008-09-23 | 2.06 | 3087 | 17.2 | [8 empty] | No Water | 3.33 | 3033 | 17.8
2008-10-08 | 2.03 | 3081 | 17.7 |  | 1.98 | 2036 | 18.1 |  |  |  |  | No Water | 3.35 | 2954 | 16.8
2008-10-24 | 2.13 | 2430 | 16.8 | [8 empty] | No Water | 3.35 | 2630 | 17.6
US17.1
US17.2
US17.3
US17.4

## Average Depths
Field ID: | US17
17E
Date | Average Depth (ft) | Avg. EC (mS/cm) | Avg. EC (dS/m) |  | Average Depth (ft) | Max | Min | Std
2008-09-10 | 8.1037 | 2755 | 2.755 | 2008 | 6.7667 | 6.9882 | 6.332 | 0.22412 | 6 |  | Average Depth (ft) | Max | Min | Std
2008-09-23 | 8.8419 | 3060 | 3.06 | [6 empty] | 2008 | 11.0564 | 11.3189 | 10.9252 | 0.17769 | 4
2008-10-08 | 8.049 | 2690.3333 | 2.6903
2008-10-24 | 8.9895 | 2530 | 2.53 |  | Average EC (µS) | Max | Min | Std |  |  | Average EC (µS) | Max | Min | Std
|  |  |  | 2008 | 2638.6667 | 3179 | 2019 | 543.9407 |  | 2008 | 2921 | 3067 | 2630 | 199.6914
17A
Average Depth (ft)
6.414
Average EC (µS)
2027.5

## Interpolated Values
Interpolated Water Table Depths
Date | Calculated Average | Interpolated Depths | Depth to Water Table (m)
2008-09-10 | 8.1037 |  | 2.47 | 2.47 | 2.4873 | 2.5046 | 2.5219 | 2.5392 | 2.5565 | 2.5738 | 2.5912 | 2.6085 | 2.6258 | 2.6431 | 2.6604 | 2.6777 | 2.695 | 2.6789 | 2.6628 | 2.6467 | 2.6306 | 2.6144 | 2.5983 | 2.5822
2008-09-11 |  | 8.1605 | 2.4873
2008-09-12 |  | 8.2172 | 2.5046
2008-09-13 |  | 8.274 | 2.5219
2008-09-14 |  | 8.3308 | 2.5392
2008-09-15 |  | 8.3876 | 2.5565
2008-09-16 |  | 8.4444 | 2.5738
2008-09-17 |  | 8.5012 | 2.5912
2008-09-18 |  | 8.5579 | 2.6085
2008-09-19 |  | 8.6147 | 2.6258
2008-09-20 |  | 8.6715 | 2.6431
2008-09-21 |  | 8.7283 | 2.6604
2008-09-22 |  | 8.7851 | 2.6777
2008-09-23 | 8.8419 |  | 2.695
2008-09-24 |  | 8.789 | 2.6789
2008-09-25 |  | 8.7361 | 2.6628
2008-09-26 |  | 8.6833 | 2.6467
2008-09-27 |  | 8.6304 | 2.6306
2008-09-28 |  | 8.5776 | 2.6144
2008-09-29 |  | 8.5247 | 2.5983
2008-09-30 |  | 8.4719 | 2.5822
2008-10-01 |  | 8.419 | 2.5661 | 2.5661 | 2.55 | 2.5339 | 2.5178 | 2.5017 | 2.4856 | 2.4694 | 2.4533 | 2.4712 | 2.4892 | 2.5071 | 2.525 | 2.5429 | 2.5608 | 2.5787 | 2.5967 | 2.6146 | 2.6325 | 2.6504 | 2.6683 | 2.6862 | 2.7042 | 2.7221 | 2.74
2008-10-02 |  | 8.3661 | 2.55
2008-10-03 |  | 8.3133 | 2.5339
2008-10-04 |  | 8.2604 | 2.5178
2008-10-05 |  | 8.2076 | 2.5017
2008-10-06 |  | 8.1547 | 2.4856
2008-10-07 |  | 8.1019 | 2.4694
2008-10-08 | 8.049 |  | 2.4533
2008-10-09 |  | 8.1078 | 2.4712
2008-10-10 |  | 8.1666 | 2.4892
2008-10-11 |  | 8.2253 | 2.5071
2008-10-12 |  | 8.2841 | 2.525
2008-10-13 |  | 8.3429 | 2.5429
2008-10-14 |  | 8.4017 | 2.5608
2008-10-15 |  | 8.4605 | 2.5787
2008-10-16 |  | 8.5192 | 2.5967
2008-10-17 |  | 8.578 | 2.6146
2008-10-18 |  | 8.6368 | 2.6325
2008-10-19 |  | 8.6956 | 2.6504
2008-10-20 |  | 8.7544 | 2.6683
2008-10-21 |  | 8.8132 | 2.6862
2008-10-22 |  | 8.8719 | 2.7042
2008-10-23 |  | 8.9307 | 2.7221
2008-10-24 | 8.9895 |  | 2.74
2008-10-25